| Name of Safe Work Practice: | Refueling Equipment | SWP # | 00-026 |
| --- | --- | --- | --- |
| Date Developed: | Enter Date Here | Revision Date: | Enter Date Here |
| Management Signature: | Management Signature Here | Date: | Enter Date Here |
| Reviewed by JHSC/Worker Rep: | Add name of worker rep. | Date: | Enter Date Here |

Instructions:

- Review this safe work practice (SWP) annually or any time the task, equipment, or materials change.

- Do NOT perform this practice until you have been appropriately trained and authorized to do so by your supervisor.

| Check Required Personal Protective Equipment and Devices: (Delete this text and pictograms that do not apply. Add any additional personal protective equipment required). |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| Eye Protection | Dust Mask | Face-Shield | Safety Footwear | Hearing Protection | Type of Gloves | Hard Hat | Protective Clothing | NIOSH Approved Respirator | Fall Protection | No Loose clothing, jewelry etc. |  |

| Required Training: WHMIS 2015 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Type |  | Who | Topic | Description |
| Formal Training | ☒ | Workers responsible for refueling equipment shall complete WHMIS 2015, and on-the-job training for refueling operations. | SWPs | New hire orientation/ review at least once per year thereafter |
| On-the-Job Training | ☒ |  |  |  |

General Safety Requirements and Instructions

Do

- Shut off all equipment, including light towers, generators, and water pumps during refueling. - Review the manufacturer’s instructions before refueling the diesel water pump. - Ensure that all basic personal protective equipment is employed at all times. - Segregate flammable and hazardous materials storage areas from the work area. The area must be appropriately ventilated and have an ABC-type dry chemical fire extinguisher on hand at all times. - Shut down the equipment to be refueled, after moving it into an area which will not pose a hazard to oneself or others. - Be aware of static electricity hazards which could pose an ignition hazard when refueling. As necessary, ground the equipment and the fuel tank to prevent inadvertent static charge. - Shut down and control all electrical ignition sources at all times. - Contain and clean up any spilled fuel in accordance with environmental protection policy and all applicable legislative standards. - Locate an ABC dry chemical fire extinguisher within 25 feet during all permanent refueling operations. - Be aware of body positioning and clothing, follow applicable Workplace Hazardous Materials Information System safety data sheets for clean-up instructions and maintenance.

Don’t

- Refuel the small water pump or the generator until they are cooled off. - Keep a cannister with gasoline in the same spill tray with the running generator or water pump. - Expose the equipment to open flames or sources of ignition while refueling.